Form 7.5  Operational Checklist:  DISINFECTION UNIT – CHLORINE (DUC)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:  ( You   ( Other:

Date of last inspection: _______________________________

1.	Operation of chlorination system

a.	Manufacturer:   Chlorinator: ________   Dechlorinator:_________

b.	Model #:

c.	Method:  	( Tablet	( Liquid

d.	Unit appears to be in good condition?	Yes	No

2.	Tablet chlorination:		N.A. __________

a.	Chlorinator appears to be operable?		Yes	No

b.	Chlorine tablets in place?		Yes	No

Type:

c.	Tablets come in contact with effluent?	Yes	No

d.	If tablets added, how many:

e.	Contact chamber appears operable?		Yes	No

f.	Contact chamber and stack feeder cleaned? 	Yes	No

g.	Chlorine residual:  ( Free	( Total				ppm

Testing method:

3.	Liquid chlorinator:	N.A.

a.	Chlorine present in reservoir?	Yes	No

Type:

b.	Injection method operating correctly?	Yes	No

Type:

c.	Contact chamber appears operable? 	Yes	No

d.	Proper mixing occurring?				Yes	No

e.	Chlorine residual:  ( Free	( Total				ppm

Testing method:

4.	Tablet dechlorination:	( Required	( Not required

a.	Dechlorination appears operable?		Yes	No

b.	Dechlorination tablets in place: 		Yes	No

Type:

c.	Tablets come in contact with effluent?	Yes	No

d.	If tablets added, how many:

e.	Contact chamber appears operable?		Yes	No

f.	Contact chamber and stack feeder cleaned? 	Yes	No

g.	Chlorine residual:  ( Free	( Total				ppm

Testing method:

5.	 Control panel:     					N.A.___________

a.	Controls operating properly? 			Yes	No

b.	Is enclosure watertight?			Yes	No

c.	Alarm test switch operating properly?		Yes	No

d.	At time of inspection, control switch was set to: 	N.A.___________

“Hand/Manual”__												“Auto”_________

e.	If auto, setting:    Time On:_______ (min) Time Off:________ (min)

6.	Manufacturer’s required maintenance performed?	Yes	No

(If ‘Yes’, attach Manufacturer Inspection form to this report, if supplied)

7.	Lab samples collected for monitoring?		Yes	No

Types of analysis:

# Text boxes

1.  ( Acceptable

( Unacceptable

2.  ( Acceptable

( Unacceptable

3.  ( Acceptable

( Unacceptable

4.  ( Acceptable

( Unacceptable

5.  ( Acceptable

( Unacceptable

NOTES