Form 7.1 Operational Checklist:  MEDIA FILTER (MF)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:  ( You   ( Other:

Date of last inspection: _______________________________

1. 	Type of media filter:

Single-pass:  	(	Sand	(	Foam	(	Peat	Other:

Recirculating:  	(	Sand/gravel	(	Foam	(	Textile	Other:

Trickling filter: 	(	Gravel	(	Plastic	(	Textile	Other:

Upflow filter: 	(	Gravel	(	Plastic	(	Textile	Other:

a.	Manufacturer: 			    Model #:

b.	Distribution method:  ( Pressure distribution     ( Gravity distribution

2.	Conditions at media filter

a.	Evaluate presence of odor within 10 ft of perimeter of system:

( None     ( Mild     ( Strong      ( Chemical     ( Sour

b.	Source of odor, if present: ________________________________

3.	Cover

a.	Type of cover:          ( Free access         ( Buried             ( Lid

b.	Filter cover intact?	Yes	No

c.	Method of securing cover:                            	______________

d.	Distribution component accessible?                      	Yes	No

e.   	Surface water/infiltration into components?	 	Yes	No

4.	Venting/Air supply:                                 ( Passive  ( Active    (  Not present

a.	Supply: 	( Aspirator  ( Compressor  ( Blower ( Free air (go to 4.g)

b.	Operation:  ( Continuous	( Timed (On 	min., Off  	 min)

c.	Air supply unit operating properly?	Yes	No

d.	Pressure at air supply unit:			 psi

e.	Air flow at air supply unit:			cfm

f.	Air filter/screen:   ( Cleaned	( Replaced

g.	Venting appears operable?	                             Yes ____No____

5.	Media surface

a.	Biomat on surface?	Yes	No

b.	Uniform gravity distribution?                 N.A.	Yes	No

c.	Uniform spray pattern?                           N.A.	Yes	No

d.	Ponding in/on media?	Yes	No

e.	Plugging/clogging of distribution components? 	Yes	No

f. 	Media appears to be settling?	Yes	No

g.	Appropriate maintenance performed?	Yes	No

h.	Animal activity at surface?	Yes	No

6.	Effluent quality

a.	Turbidity: 		 	NTU

b.    Oily film on the surface of effluent?	Yes	No

c.	DO at outlet:		 	mg/L

d.	pH at outlet:

e.	Temperature at outlet:

f.	Bypass or overflow noticed?	Yes	No

g.	Effluent odor after passing through media filter:

(	None	(	Mild	(	Strong

h.	Effluent color after passing through media filter:

(	Clear	(	Brown	(	Black

Reference #:

7.	Pressure distribution:					N.A__________

a.	Distal head before cleaning

i)	Equal height?	 Yes	No

ii)	Height (inches):			in

b.	Lateral condition

i)	Laterals in need of cleaning?	Yes	No

ii)	Laterals cleaned?	Yes	No

iii)	Method for cleaning laterals:

c.	Distal head after cleaning

i)	Equal height?	 Yes	No

ii)	Height (inches):				in

8. 	Gravity distribution: 	N.A__________

a.	Device:

b.	Uniform distrubtion?	Yes	No

c.	Operating properly?	Yes	No

9.	Filter drainage systems

a.	Ponding in media filter sump?	Yes	No

b.	Gravity drainage operational?              N.A.	Yes	No

c.	Solids buildup in sump area?                N.A.	Yes	No

d.	Underdrain vents present?	Yes	No

e.	Underdrain vents appear operable?	Yes	No

10.	Additional tasks for recirculating filters

a.	DO in recirculation tank:		        mg/L

b.	Inspected recirculating device?	 N.A.	Yes	No

c.	Cleaned recirculating device?                  N.A.	Yes	No

d.	Design recirculation ratio:		:

e.	Actual recirculation ratio:		:

f.	Recirculation changed to:		:

*If dam configuration, recirculation device cannot be inspected or cleaned

11.    Additional tasks for trickling filters

11.1 Clarification chamber

a.	Solids blanket below recirculation pump inlet?	Yes	No	*

*If no, was system pumped out?	Yes	No

b.	If screened inlet, was screen cleaned?	Yes	No

11.2 Sludge return

a.	Solids blanket slightly above return pump?	Yes	No

b.	Changed solids return rate?	Yes	No

i)	Pump:  ( Off  ( On

ii)	Changed from ____ min to ____min

12.   Manufacturer’s required maintenance performed?	Yes	No

(If ‘Yes’, attach Manufacturer Inspection form to this report, if supplied)

13.	Lab samples collected for monitoring?	Yes	No

Types of analysis:

# Text boxes

7.  ( Acceptable

( Unacceptable

8.    ( Acceptable

( Unacceptable

9.    ( Acceptable

( Unacceptable

10.    ( Acceptable

( Unacceptable

11.1  ( Acceptable

( Unacceptable

11.2  ( Acceptable

( Unacceptable

2.    ( Acceptable

( Unacceptable

3.    ( Acceptable

( Unacceptable

4.    ( Acceptable

( Unacceptable

5.  ( Acceptable

( Unacceptable

6.  ( Acceptable

( Unacceptable

NOTES